## Slide 1
Temperature Testing Stand for 2-inch Silicon Wafers used in Experimental Research in VUV Photodetectors
Shadow Mask and Templates for 2-inch Silicon Wafers
https://github.com/barajasalfredo13/Amorphous-Selenium-Vertical-Design

## Slide 2
Mounting the Copper Temperature Block
Hole Dimensions and Locations of Stainless-Steel Block

## Slide 3
Mounting Samples onto the PCB Card
E
D
C
A
A – Vented Socket Head Screw B – Top Probe Card C – 2 Inch Substrate
D – Bottom Probe Card
E – Mil. Spec. 18-8 SS Hex Nut
B

## Slide 4
Mounting the Copper Temperature Block
B
C
A
A – Temperature Node B – Vented Socket Head Screw C – PCB Card

## Slide 5
Copper Temperature Node
Drawings are included for reproducibility of the system

## Slide 6
Copper Temperature Node Files
It is expected that after ~ 1 minute under liquid Nitrogen that the Copper Node will converge to 77 K

## Slide 7
PCB Card
The Gerber Files generated are for the test of a vertical device, BUT the KiCAD Files contained have been made to accommodate modifications for new devices